## Sheet1
machine_id | floor | machine_name | company | model_no | serial_no | rated_kw | rated_amps | quantity
MCH-0001 | Lower basement | Shrink wrap | [5 empty] | 1nps
MCH-0002 | Lower basement | Carton shrink wrap | [5 empty] | 1nos
MCH-0003 | Lower basement | foot sealer manul | [5 empty] | 1nos
MCH-0004 | Lower basement | Band sealer |  |  |  | 508watt |  | 1nos
MCH-0005 | Lower basement | Pet sealer |  |  |  | 1.5kw |  | 1nos
MCH-0006 | Lower basement | Vaccum packing machine |  |  |  | 2.5kw |  | 1nos
MCH-0007 | Lower basement | Fly catcher |  |  |  | 120W |  | 3 nos
MCH-0008 | Lower basement | Drian pump | ` |  |  |  |  | 1nos
MCH-0009 | Lower basement | tubes light | [5 empty] | 34nos
MCH-0010 | Lower basement | LED flood light |  |  |  | 150W |  | 3nos
MCH-0011 | Lower basement | AC indor unit | [5 empty] | 8nos
MCH-0012 | Lower basement | Band sealer |  |  |  | 508Watt |  | 2nos
MCH-0013 | Lower basement | LED flood light |  |  |  | 150W |  | 3nos
MCH-0014 | Lower basement | AC indoor unit | [5 empty] | 9nos
MCH-0015 | Lower basement | AC fresh air unit | [5 empty] | 3nos
MCH-0016 | Lower basement | Tube light | [5 empty] | 36nos
MCH-0017 | Lower basement | Fly catcher |  |  |  | 80W |  | 2nos
MCH-0018 | Lower basement | Strapping machine | [5 empty] | 1nos
MCH-0019 | service floor | Split AC | [5 empty] | 1nos
MCH-0020 | service floor | Tube light |  |  |  | 120watt |  | 3nos
MCH-0021 | service floor | Hot air oven | [5 empty] | 1nos
MCH-0022 | service floor | freezer | [5 empty] | 1nos
MCH-0023 | service floor | Baking oven | [5 empty] | 1nos
MCH-0024 | service floor | pan coater | [5 empty] | 1nos
MCH-0025 | service floor | tube light | [5 empty] | 6nos
MCH-0026 | service floor | Old VRV indoor | [5 empty] | 2nos
MCH-0027 | service floor | stick pack m/c | [5 empty] | 1nos
MCH-0028 | service floor | hand sealer | [5 empty] | 1nos
MCH-0029 | service floor | Printers | [5 empty] | 7nos
MCH-0030 | service floor | Old VRV indoor | [5 empty] | 2nos
MCH-0031 | service floor | Split AC | [5 empty] | 1nos
MCH-0032 | service floor | Tube light | [5 empty] | 5nos
MCH-0033 | service floor | Tube light | [5 empty] | 7nos
MCH-0034 | service floor | AC | [5 empty] | 1nos
MCH-0035 | service floor | Exhuast fan | [5 empty] | 1nos
MCH-0036 | service floor | FFS
MCH-0037 | service floor | destoner | [5 empty] | 1nos
MCH-0038 | service floor | band sealer | [5 empty] | 2nos
MCH-0039 | service floor | tube light | [5 empty] | 36 nos
MCH-0040 | service floor | VRV indoor unit | [5 empty] | 8nos
MCH-0041 | service floor | foot sealer | [5 empty] | 1nos
MCH-0042 | service floor | fly catcher | [5 empty] | 2nos
MCH-0043 | service floor | strapping machine | [5 empty] | 1nos
MCH-0044 | service floor | metal detector | [5 empty] | 1nos
MCH-0045 | 1st floor Mazzenine | split AC | [5 empty] | 1nos
MCH-0046 | 1st floor Mazzenine | tube light | [5 empty] | 3nos
MCH-0047 | 1st floor Mazzenine | Fly catcher | [5 empty] | 3nos
MCH-0048 | 1st floor Mazzenine | indoor unit | [5 empty] | 8nos
MCH-0049 | 1st floor Mazzenine | Band sealer | [5 empty] | 2nos
MCH-0050 | 1st floor Mazzenine | matel detector | [5 empty] | 1nos
MCH-0051 | 1st floor Mazzenine | tube light | [5 empty] | 33nos
MCH-0052 | 1st floor Mazzenine | vaccum packing machine | [5 empty] | 1nos
MCH-0053 | 2nd floor | exhuast fan | [5 empty] | 2nos
MCH-0054 | 2nd floor | panel light | [5 empty] | 9nos
MCH-0055 | 2nd floor | fly catcher | [5 empty] | 3nos
MCH-0056 | 2nd floor | tube light | [5 empty] | 18nos
MCH-0057 | 2nd floor | shrink wrap machine | [5 empty] | 1nos
MCH-0058 | 2nd floor | X-ray mchine | [5 empty] | 1nos
MCH-0059 | 2nd floor | band sealer | [5 empty] | 1nos
MCH-0060 | 2nd floor | flow wrap machine | [5 empty] | 3 nos
MCH-0061 | 2nd floor | TLM flow wrap |  |  |  | off |  | 1nos
MCH-0062 | 2nd floor | enrobing machine | [5 empty] | 1nos
MCH-0063 | 2nd floor | indoor unit | [5 empty] | 7nos
MCH-0064 | 2nd floor | tempring machine | [5 empty] | 2nos
MCH-0065 | 2nd floor | melting tank | [5 empty] | 1noo
MCH-0066 | 2nd floor | krugger machine | [5 empty] | 1nos
MCH-0067 | 2nd floor | sheet and cut | [5 empty] | 1nos
MCH-0068 | 2nd floor | try roaster | [5 empty] | 1nos
MCH-0069 | 2nd floor | AC | [5 empty] | 3nos
MCH-0070 | 2nd floor | conveyers | [5 empty] | 2nos
MCH-0071 | 2nd floor | oven | [5 empty] | 1nos
MCH-0072 | 2nd floor | Coating Pan | [5 empty] | 3nos
MCH-0073 | 2nd floor | freezer | [5 empty] | 1nos
MCH-0074 | 2nd floor mazenine | Paddal mixer 90kg | [5 empty] | 1nos
MCH-0075 | 2nd floor mazenine | paddal mixer 20Kg | [5 empty] | 1nos
MCH-0076 | 2nd floor mazenine | paddal mixer 300L | [5 empty] | 1nos
MCH-0077 | 2nd floor mazenine | baking oven |  |  |  | 5kw |  | 2nos
MCH-0078 | 2nd floor mazenine | freezer | [5 empty] | 1nos
MCH-0079 | 2nd floor mazenine | deep freezer | [5 empty] | 2nos
MCH-0080 | 2nd floor mazenine | indoor unit | [5 empty] | 6nos
MCH-0081 | 2nd floor mazenine | tube light | [5 empty] | 30nos
MCH-0082 | 2nd floor mazenine | fly catcher | [5 empty] | 2nos
MCH-0083 | 2nd floor mazenine | slicer machine | [5 empty] | 1nos
MCH-0084 | 2nd floor mazenine | penut butter machine | [5 empty] | 1nos
MCH-0085 | 2nd floor mazenine | grinder 2hp | [5 empty] | 3nos
MCH-0086 | 2nd floor mazenine | electrical induction |  |  |  | 2kw |  | 1nos
MCH-0087 | 2nd floor mazenine | pulveiser | [5 empty] | 1nos
MCH-0088 | Terrace | Slicer/Silver machine | [5 empty] | 1nos
MCH-0089 | Terrace | try roaster |  |  |  | 6kw |  | 2nos
MCH-0090 | Terrace | band sealer |  |  |  | 508w |  | 1nos
MCH-0091 | Terrace | pan coater | [5 empty] | 1nos
MCH-0092 | Terrace | foot sealer | [5 empty] | 1nos
MCH-0093 | Terrace | V vaccum packing machine |  |  |  | 3.5kw |  | 1nos
MCH-0094 | Terrace | exhuast fan | [5 empty] | 2nos
MCH-0095 | Terrace | Ac | [5 empty] | 1nos
MCH-0096 | Terrace | tube light | [5 empty] | 14nos
MCH-0097 | Terrace | pedsteal fan | [5 empty] | 1nos
MCH-0098 | Terrace | Blanching machine | [5 empty] | 2nos
MCH-0099 | Terrace | Hot water tub 500lit | [5 empty] | 1
MCH-0100 | Terrace | Dicer machine | [5 empty] | 1nos
MCH-0101 | Lower Basement | Shrink wrap packaging machine | Shanti Packaging |  | 550616
MCH-0102 | Lower Basement | Shrink wrap packaging machine | Shanti Packaging |  |  | 0.1 kw
MCH-0103 | Lower Basement | L sealer machine | Advance Packaging | 400 |  | 3 kw
MCH-0104 | Lower Basement | Induction heat sealer | R-TECHNIC | 46/22-23 |  | 5 kw
MCH-0105 | Lower Basement | Pet sealer machine | Gang Shing | 1793 |  | 0.98 kw
MCH-0106 | Lower Basement | Stripping machine | Shanti Packaging | 16/20/36 |  |  | 5 A
MCH-0107 | Lower Basement | Band sealer | Shanti Packaging | 1111121115368 |  | 6.96 kw
MCH-0108 | Lower Basement | Air conditioner indoor unit |  | pety-p63vma-e4 |  | 3.1 kw | 5.52 A
MCH-0109 | Lower Basement | Vaccum machine |  |  |  | 45 w
MCH-0110 | Lower Basement | Fly catcher |  |  |  | 1 kw
MCH-0111 | Lower Basement | Tube light |  |  |  | 1 kw | 4.0 A
MCH-0112 | Lower Basement | Drain pump |  |  |  |  | 3 A
MCH-0113 | Lower Basement | LED flood light
MCH-0114 | Upper Basement | Stripping machine | Shanti Packaging |  |  | 0.98 kw | 5 A
MCH-0115 | Upper Basement | Packaging machine | Multivac | 437123.2038 |  | 5 kw | 19 A
MCH-0116 | Upper Basement | Werner Finley | Werner Finley | 384095 |  | 1.6 kw | 9.5 A
MCH-0117 | Upper Basement | Stabilizer | Golden | 3025070632 |  | 0.65
MCH-0118 | Upper Basement | Band sealing | Shanti Packaging |  | T1906-0241
MCH-0119 | Upper Basement | LED flood light |  |  | 1111121115368
MCH-0120 | Upper Basement | AC indoor |  |  |  | 7.83 kw | 6.21 A
MCH-0121 | Upper Basement | Fresh air unit |  | pety-p63vma-e4
MCH-0122 | Upper Basement | Tube light |  |  |  | 1440 watt
MCH-0123 | Upper Basement | Fly catcher
MCH-0124 | Service Floor | D.G. | Powerica | CP 160DSP | PLIC/08/2016/160/0236 | 160 KVA / 128 KW
MCH-0125 | Service Floor | Compressor | Ingersoll Rand | 2545 | NAR10100226
MCH-0126 | Service Floor | Compressor | Ingersoll Rand | 2545 | NAR10081963
MCH-0127 | Service Floor | Compressor | Ingersoll Rand | 2545 | NAR10494391
MCH-0128 | Service Floor | NPD pan coating machine
MCH-0129 | Service Floor | Roasting oven | Safire Industries
MCH-0130 | Service Floor | Environmental test chamber |  | ETC-1
MCH-0131 | Service Floor | Blast freezer
MCH-0132 | Service Floor | Inkjet coding machine | Docod | 5200 | DSC1406 |  | 1.9 A
MCH-0133 | Service Floor | Printing conveyor |  |  |  | 0.18 KW
MCH-0134 | Service Floor | Inkjet coding machine | Videojet | 1220 | 17194016C21ZH | 120 W | 3 A
MCH-0135 | Service Floor | Printing conveyor |  |  |  | 0.18 KW
MCH-0136 | Service Floor | Markem Imaje smart date x45 | Markem Imaje | x45 | IN19080032
MCH-0137 | Service Floor | Conveyor |  |  |  | 0.18 KW
MCH-0138 | Service Floor | Markem Imaje smart date x45 | Markem Imaje | x45 | IN22270064
MCH-0139 | Service Floor | Markem Imaje smart date x45 | Markem Imaje | x45 | IN23170073
MCH-0140 | Service Floor | Laser marking machine | SJ-SW |  | 20250427882820
MCH-0141 | Service Floor | Cooling devices |  | HCOO3X3C | 11702-09-2025 | 0.6 KW | 3.5 A
MCH-0142 | Service Floor | LAB weigh balance |  | analytical weighing | 1700777
MCH-0143 | Service Floor | Moisture analyser |  |  | D209412040
MCH-0144 | Service Floor | Moisture analyser |  |  | D209411580
MCH-0145 | Service Floor | Analytical weighing balance |  |  | 2008062
MCH-0146 | Service Floor | Hot air oven | Radhika Scientific | 101
MCH-0147 | Service Floor | Tube light |  |  | 24 nos | 820 W
MCH-0148 | Service Floor | Hand sealer
MCH-0149 | Service Floor | Exhaust fan
MCH-0150 | 1st Floor | Strapping machine |  |  | 19050016 | 0.88 KW | 5 A
MCH-0151 | 1st Floor | Band sealing machine | Shanti Packaging | FR-900 |  | 0.65 KW
MCH-0152 | 1st Floor | Band sealing machine | Shanti Packaging | FR-900 |  | 0.65 KW
MCH-0153 | 1st Floor | Foot stamping sealing machine | Shanti Packaging | PSF-350 |  | 500 W
MCH-0154 | 1st Floor | Metal detector | Das Electronic | MD-011 | 20211121140
MCH-0155 | 1st Floor | Grinding machine | Sepro Gyroscreen | SG-900-250 |  | 4 KW | 2.1 A
MCH-0156 | 1st Floor | Vibrator | Magnetics Vibro Equipments |  | G3J2348610466 | 0.37 KW | 1.10 A
MCH-0157 | 1st Floor | F.F.S. machine | Wraptech | MB25MSD | 1716
MCH-0158 | 1st Floor | Markem Imaje smart date x40 | Markem Imaje | x40 | IN 23350025
MCH-0159 | 1st Floor | Magnetics Vibro Equipments | Magnetics Vibro Equipments |  | IN 23350026
MCH-0160 | 1st Floor | Metal detector | Technofour | ADM-769-17
MCH-0161 | 1st Floor | Conveyor
MCH-0162 | 1st Floor | Stabilizer machine | Golden | 615 | T1908-0554 | 15 KVA | 21 A
MCH-0163 | 1st Floor | Tube light |  |  | 36 nos | 840 W
MCH-0164 | 1st Floor | Fly catcher |  |  | 2 nos
MCH-0165 | 1st Floor Mezzanine | Vaccum machine | Winner Electronics |  | DCS35511-63 | 3.5 KW
MCH-0166 | 1st Floor Mezzanine | Hopper weighing system |  | hdm 14-2B-01 | 88170900
MCH-0167 | 1st Floor Mezzanine | Shrink machine | Clearpack |  | EF19028A
MCH-0168 | 1st Floor Mezzanine | Band sealing machine | Shanti Packaging | FR-900 |  | 0.65 KW
MCH-0169 | 1st Floor Mezzanine | Band sealing machine | Shanti Packaging | FR-900 |  | 0.65 KW
MCH-0170 | 1st Floor Mezzanine | Metal detector | Technofour | ARM-21534/20
MCH-0171 | 1st Floor Mezzanine | Shrink machine heater tunnel | Advance Packaging | 93T310VL | 1900 | 9 KW
MCH-0172 | 1st Floor Mezzanine | Tube light |  |  | 36 nos | 840 W
MCH-0173 | 1st Floor Mezzanine | Fly catcher |  |  | 3 nos
MCH-0174 | 2nd Floor | X-ray machine | Mekitec |  | 61154479393 | 100 W | 3 A
MCH-0175 | 2nd Floor | Shrink wrap machine |  |  | DQL55455 | 2.2 KW
MCH-0176 | 2nd Floor | Heater tunnel |  | SRD-45D-4520 |  | 12.81 KW
MCH-0177 | 2nd Floor | Packing machine |  | AP-350 |  | 2.4 KW
MCH-0178 | 2nd Floor | Packing machine | Wraptech | WH-350 | 1301 | 2.4 KW
MCH-0179 | 2nd Floor | Markem Imaje | Markem Imaje |  | IN17390019
MCH-0180 | 2nd Floor | Packing machine
MCH-0181 | 2nd Floor | Chocolate topex | Selmi | TOPEX | TPX00003788 | 3.5 KW
MCH-0182 | 2nd Floor | Chocolate tank-200 | Selmi | TANK-200 | TANK 200001194 | 4.5 KW
MCH-0183 | 2nd Floor | Chocolate tunnel | Selmi | TUN-800 | TUN8000000919 | 0.62 KW
MCH-0184 | 2nd Floor | Water heater |  | KF-55 |  | 5.5 KW
MCH-0185 | 2nd Floor | Band sealing machine | Shanti Packaging | FR-900 |  | 0.65 KW
MCH-0186 | 2nd Floor | Sruger salecker machine |  | 1420 | MFT-300.062.600.00 | 1.5 KW
MCH-0187 | 2nd Floor | Conveyor | Hindustan |  |  | 0.35 KW
MCH-0188 | 2nd Floor | Conveyor | Hindustan |  |  | 0.35 KW
MCH-0189 | 2nd Floor | Tree roaster / baking oven | Neel Industries
MCH-0190 | 2nd Floor | Packing machine | TLM | FUTURA |  | 2.76 KW
MCH-0191 | 2nd Floor | Pan coating machine | Selmi | COMFIT | COM00001945 | 1.8 KW
MCH-0192 | 2nd Floor | Chocolate panning machine | Wecan | 15INCH-55316/55304 | 27622
MCH-0193 | 2nd Floor | Food sealing machine
MCH-0194 | 2nd Floor | Exhaust fan |  |  | 2 nos
MCH-0195 | 2nd Floor | Panel light |  |  | 9 nos
MCH-0196 | 2nd Floor | Fly catcher |  |  | 3 nos
MCH-0197 | 2nd Floor | Tube light |  |  | 18 nos
MCH-0198 | 2nd Floor | Sheet and cut machine
MCH-0199 | 2nd Floor Mezzanine | Paddle mixer-1 | Dierks Sohne | 2840-0921
MCH-0200 | 2nd Floor Mezzanine | Paddle mixer-2 IT/1
MCH-0201 | 2nd Floor Mezzanine | Mixer | KR Engineering Works
MCH-0202 | 2nd Floor Mezzanine | Baking oven | Safire Industries
MCH-0203 | 2nd Floor Mezzanine | Freezer
MCH-0204 | Terrace | Water bath
MCH-0205 | Terrace | Tray roaster-1
MCH-0206 | Terrace | Tray roaster-2
MCH-0207 | Terrace | Food sealing machine |  | PSF-350 |  | 500 W
MCH-0208 | Terrace | Vaccum machine | Winner Electronics
MCH-0209 | Terrace | Coating pan
MCH-0210 | Terrace | Band sealing machine | Shanti Packaging | FR-900 |  | 0.65 KW
MCH-0211 | Terrace | Slicer / slivered machine
MCH-0212 | Terrace | Dicer machine | Hari Om Industries
MCH-0213 | Terrace | RO plant-1000L
MCH-0214 | Terrace | RO plant-4000L |  | 1465 | 154